# Hydroacoustic Data Monitoring Report - DRAFT

2018: Quarter 2

Pathway Program Phase II - Advancing Data Processing and Analysis
















Prepared by:
Louise P. McGarry Ph.D., Daniel J. Hasselman Ph.D., and Jessica Douglas
Fundy Ocean Research Center for Energy

Submission Date: June 4, 2021

# Executive Summary

[Insert text specific to this report]

Overview and major take home messages of analyses

Table of Contents

1.	Executive Summary	3

2.	Introduction	5

3.	Materials and Methods	6

3.1. Data Collection	6

Site	6

Echosounder Data Collection	7

Echosounder Calibration	8

Echosounder Data Processing	8

Metadata and Explanatory Variables	10

3.2. Data Analyses	12

Frequency	14

Abundance	14

Distribution	14

Data Display	15

Boxplot Conventions	15

4.	Results	16

4.1. Frequency	16

Frequency - by Time (Week and Month)	16

Frequency - by Tide Phase and Month	20

Frequency - by Diel State and Month	23

Frequency - by Tide Phase and Diel State	26

4.2. Abundance	28

Abundance - by Time (Week and Month)	28

Abundance - by Tide Phase and Month	32

Abundance - by Diel State and Month	35

Abundance - by Tide Phase and Diel State	38

4.3. Distribution	40

Distribution - by Time (Week and Month)	40

Distribution - by Tide Phase and Month	44

Distribution - by Diel State and Month	47

Distribution - by Tide Phase and Diel State	50

5.	Discussion	52

6.	Acknowledgements	53

7.	References	54

8.	Appendix A: Glossary	56

9.	Appendix B: Version Control	61

# Introduction

Instream tidal power development in the Bay of Fundy requires the ability to effectively monitor for potential environmental effects, and the capacity to quickly disseminate monitoring results to regulators and stakeholders. The development and application of standardized monitoring approaches, including data collection protocols, analytical methods and reporting formats, enables not only the comparability of datasets collected by independent monitoring efforts, but also the ability to examine temporal trends for assessing longer term environmental effects of tidal power projects.

Fisheries and Oceans Canada (i.e., Department of Fisheries and Oceans; DFO) is the federal agency responsible for regulating tidal power development in the Bay of Fundy and must do so under the provisions of the Canada Species at Risk Act and the Fisheries Act. These legislations provide protection to fish species (and their habitats), including those of conservation concern. As such, tidal power developers are required to monitor for effects of tidal power devices on fishes as a core element of their environmental effects monitoring programs, and frequently employ hydroacoustics (e.g., scientific echosounders) to meet this requirement.

Scientific echosounders are the standard tool in fisheries science for quantifying the abundance and distribution of fish (Fernandes et al., 2002) and have been used in a variety of configurations for monitoring fish around tidal power turbines (Williamson et al., 2016, 2017; Fraser et al., 2017). Echosounders function by listening for echo returns from interfaces with densities that differ from seawater (e.g., fish). However, tidal channels are frequently characterized by turbulent hydrodynamic regimes that can entrain air in the water column, preventing the quantification of echo returns from the targets of interest if the beam first passes through the entrained air. This complicates the ability to collect quantitative data about fish abundance and distribution, a challenge that can be addressed using a bottom-mounted upward facing echosounder to reduce the probability of acoustic signal scattering prior to encountering a fish or during its return to the echosounder transducer (Simmonds and MacLennan, 2005; Urick, 1983; Johannesson and Mitson, 1983; Coates, 1989).

Prior consultations with DFO (i.e., Fish and Fish Habitat Protection Program; FFHPP) about how data from scientific echosounders ought to be reported to the regulator revealed a need for quantitative information about i) how often fish are observed (i.e., frequency of detection), ii) the number of fish observed (i.e., abundance), and iii) where they are in the water column (i.e., vertical distribution). Moreover, DFO expressed a need for this information to be provided in a timely manner (i.e., quarterly reports provided within 30 days of the completion of data collection). To that end, an automated reporting template was developed to provide standardized tables and figures for visualizing frequency, abundance and distribution of fish and how these metrics vary with relevant environmental variables (tidal phase and diel state). The reporting template provides these data across weekly and monthly time bins and builds in succession with each quarterly report to culminate in an annual report. The reporting template was used to provide the quarterly/annual report provided herein.

# Materials and Methods

## Data Collection

### Site

The Fundy Ocean Research Center for Energy (FORCE) hosts tidal turbine developers at its tidal power demonstration site in Minas Passage, Nova Scotia (Figure 3.1.1). Located within the Bay of Fundy, the tide range can reach 15 m and tidal flow velocity can can exceed 5 m s-1 (Karsten, 2012). The permitted site, the Crown Lease Area (CLA), is rectangular in shape, approximately 1.6 x 1.0 km in surface area, and contains five subsea berths for tidal turbine deployments. The site is generally underlain by sedimentary rock and includes a long linear volcanic deposit (Fader, 2009) that forms a plateau (Figure 3.1.1). The five subsea berths are located on the plateau where the mean kinetic power density is estimated to be twice that detected off the plateau (Culina and Karsten, 2014). Focusing on the plateau, the stationary Fundy Advanced Sensor Technology (FAST) platform was deployed carrying an instrument package to the seafloor (Figure 3.1.1 and Table 3.1.1; Viehman et al., 2019). This report focuses exclusively on the echosounder data.

Figure 3.1.1. Data Collection Site.
Inset: Minas Passage. Dashed box: Crown Lease Area within Minas Passage. Black star: Location of hydroacoustic data collection.

### Echosounder Data Collection

A Wideband Autonomous Transceiver (WBAT), one of the Simrad EK80 suite of echosounders, was included in the instrument package and deployed at a depth of 40 m. The WBAT included an upward-facing, circular, 7​∘ split-beam transducer positioned at 0.7 m above the seafloor. The transducer operated in continuous-wave (CW) mode at 120 kHz, with a ping rate of 1 Hz, a nominal pulse duration of 0.128 ms, and a power output of 125 W. Every half hour, echo returns from active pinging were recorded for 5 minutes. Additionally, with the echosounder in listening only (passive) mode, ambient and system noise at 120 kHz was recorded for 1 minute. The passive data were reviewed for noise levels of concern, but otherwise not used for this analysis. Data were recorded with the clock set to Coordinated Universal Time (UTC).

### Echosounder Calibration

Calibration data were collected ex situ on 6 March 2018 at the Dominion Diving Wharf in Dartmouth, Nova Scotia. The ex situ calibration site in Halifax Harbor, with its tidal range of 1 m, was chosen to optimize the window of opportunity for data collection relative to the rapid tidal flow speeds associated with the 15 m tidal range in Minas Passage. Echo returns were recorded using a standard 23 mm copper calibration sphere suspended 2 m below the transducer face. The echosounder calibration data were collected with the same echosounder settings (e.g., pulse duration, ping rate, power, CW mode) as those used during data collection deployments in Minas Passage. Sound speed used during calibration was calculated from temperature and salinity measured at the calibration site.

### Echosounder Data Processing

Echosounder data were post-processed using Echoview (version 10.0; Echoview Software Pty Ltd, Hobart, Australia). Post-processing activities included the application of the calibration parameters, corrections to sound speed based on the temperature and salinity of the seawater during data collection, exclusion of sound scattered from the physical interface at the sea surface (sea-air interface), exclusion of the transducer nearfield range where the acoustic sound pulse is not yet organized (Simmonds and MacLennan, 2005), and the exclusion of noise or unwanted signals in the recorded data. A summary of post-processing is given here with a full description of the post-processing available in Viehman et al. (2019). The goal of the post-processing activities was to prepare the raw echosounder data for analyses.

Corrections to sound speed were calculated in Viehman et al. (2019). Whereas, sound speed was found to change by as much as 36 m s-1 over the course of the two-month deployments, sound speed was analyzed in detail. Sound speed was found to vary by as much as +/- 4.5 m s-1 over the course of a tidal cycle, due primarily to temperature changes, and correlated to an error of +/- 2.5% in volume backscatter. To keep the backscatter error within the bounds of the tidal variation, the sound speed was corrected whenever the cumulative change in temperature and salinity over the course of 12 hours generated a change in sound speed that exceeded 4.5 m s-1.

In tidal energy sites, air, a strong scatterer of acoustic energy, is commonly found entrained into the water column, often reaching to the seafloor (Figure 3.1.2). The impressive tidal currents in conjunction with local bathymetry often generate strong turbulence in excess of that generated by wind and waves. Therefore, to exclude echosounder data not suitable for biological analyses, the post-processing included the substantive step of identifying the boundary between water contaminated by entrained air and that water for which the entrained air did not penetrate.

Two regions inherent in acoustic beam formation were excluded: the transducer nearfield range and the acoustic deadzone (Simmonds and MacLennan, 2005). Data within 1.7 m of the transducer face, 2x the calculated nearfield range for this transducer, was excluded (Simmonds and MacLennan, 2005; Demer et al., 2015). To exclude data within the range of the deadzone from analyses, data within 1.0 m of the surface line was excluded. The analysis region of the echosounder data was thus defined as the echo returns recorded between the transducer nearfield line and the entrained air boundary line inclusive of the one-meter offset. If no entrained air was present, the sea surface line inclusive of the one-meter offset was used for the upper boundary on the analysis region.

Figure 3.1.2. Example Echogram of Echosounder Data.
Example echogram showing positioned sea surface line, transducer nearfield line, and line demarcating the entrained air depth-of-penetration. Black vertical lines demarcate the boundary between 5-minute data collection periods over a 5.5 hour period. Numerical data (40 m and 30 m) report the water depth at the start and the end of the data shown. Data shown were recorded at high slack (left) and moving into ebbing tide as illustrated by the declining sea surface line.

Without in situ sampling to act as a guide (e.g., net tows or trawl surveys to verify species identification and fish size), thresholds for mean volume backscattering strength (Sv, units: dB re 1 m-1; herein “dB”) were applied based on visual scrutiny of the echograms and published generalized target strength to length relationships (Love, 1971). The goal was to select a threshold sufficiently low to exclude plankton without excluding fish sizes that should reasonably be included. A minimum Sv threshold of -66 dB was selected, which at 120 kHz in seawater, is “equivalent” to a “generic” fish of length ~1 cm (Love, 1971). All Sv values less than -66 dB were set to 0. In order to exclude marine mammals (lungs generate very strong echo returns) and other strong noise or non-fish echo returns without excluding dense, strongly reflective aggregations of fish, all Sv values greater than -30 dB were examined. Those consistent with fish aggregations remained included for analyses, all others were excluded. See Viehman et al. (2019) for more detail. The end result was the inclusion of echo returns consistent with the presence of fish. Herein, the phrase “fish observation” is used for brevity, but should be read as “targets consistent with fish”.

At the completion of post-processing, the full water column data was integrated into 6‑second intervals (Figure 3.1.3), the interval at which water column mean Sv became independent (Viehman et al., 2019), and exported from Echoview. Settings applied at the time of Echoview export allowed the analyst to track samples within the analysis region that were to be included for analyses or excluded due to contamination by noise and entrained air.

Figure 3.1.3. Example Echogram Binned in 6‑Second Interval.
Example echogram demonstraing full water column data binned in 6‑second intervals. Surface line (blue) and line demarcating depth-of-penetration of entrained air (red) are shown. Black region defines the echogram portion excluded from analyses.

### Metadata and Explanatory Variables

To place the echosounder data within a meaningful environmental context, a Python script was developed by Jordan Bradfield (IBM) to automate the generation of a text file of metadata for each deployment. The output text file includes the diel state (dawn, day, dusk, night), tide phase (flood, high‑slack, ebb, low‑slack), presence or absence of a turbine deployed in the CLA, seawater temperature if concurrently collected via instrumentation on the deployment platform, and other pertinent information such as a deployment designator or the study area (e.g., “CLA” or “Berth A”), all indexed by the data collection duty cycle. See the Glossary in Appendix A for the standardized definitions of each of the diel states and tide phases. Temperature data was not used in the analyses here, but was included in the specifications for the automated metadata generator in order to have the data available for other analyses. Tide phase data rather than flow rate data, such as that collected by an acoustic Doppler current profiler (ADCP) was used in order to standardize tide phase reporting avoiding inconsistent data streams for those cases where flow rate data is not available.

The script builds the duty cycle columns of the output file using the user-defined start/end dates and times for the deployment and the pattern of the planned duty cycling (e.g., data collection duration, data collection interval) to include a time buffer sufficient to accommodate clock drift and write-file buffering. The diel state and tide phase columns are populated by commands within the script that scrape the web for the data (diel state: https://api.sunrise-sunset.org and tide phase: https://tides.mobilegeographics.com). A time buffer parameter is available for the user to define when assigning the diel state and tide phase to each duty cycle collection period. The buffer becomes valuable when the tide phase or diel state changes within the duty cycle collection period. The user-defined buffer avoids assigning a tide phase or diel state appropriate to less than half of the duty cycle collection period. The script includes a user-defined field by which the echosounder data timezone is defined, such that the time associated with tide phase and diel state is reported using the same timezone as the Echoview-exported data to which the metadata will be matched. The “TurbinePresence” column gets populated with a 1 (“true”) or 0 (“false”) based on user-defined dates of presence within the CLA. The deployment and study area designators are populated with the user-defined designators.

Of special note are the two websites scraped for the diel and tide data. The diel website includes a free callable Application Programming Interface (API) and is therefore likely to be stable and less likely to need programming changes within the metadata-generation Python script. The tide website, however, was not designed as an API, but purely for data display through basic HTML tables. In the interim since the creation of the metadata generator script, the tide website has become unavailable. Therefore, to support future automated generations of the metadata file, new sources of tide phase data will be explored.

## Data Analyses

A series of scripts were written in the R statistical programming language (R Core Team, 2020) to execute a series of standardized steps for data preparation, data quality/data assurance, merge of the echosounder data with the metadata, and segmenting the data for presentation in the report figures. Finally, this document, including figures and tables, was rendered using code written in R Markdown (Allair et al., 2021). The Echoview-exported files for each deployment were appended and then, using the R scripts, processed and prepared for analyses and the production of the figures as follows.

To prepare the echosounder data for analyses, data within each of the Echoview-exported files were tested to ensure that the Echoview export occurred as expected, and with consistent export settings (e.g., full water column 6‑second integration period). Results of the tests were saved to a file to archive the results and reported via the R Console window to the user for review.

To standardize calendar-period reporting, weeks as defined by the International Organization for Standardization 8601 (ISO 8601) Representation of Dates and Times was adopted. The advantage of ISO 8601 conventions over the Gregorian calendar is that every week has seven days; no partial weeks at the beginning or end of months. In addition every quarter was assigned 13 weeks allocated to three months in the pattern of 5‑4‑4. In other words, every week consists of seven days, every quarter consists of 13 weeks of which the first five weeks were assigned to the first month of the quarter, and the second and third month of the quarter consists of four weeks each. By adopting these conventions, the comparison of the data reported year to year is not confounded by varying time periods. Note that every 5th or 6th year, the 12th month of the year consists of five weeks in order to keep the ISO 8601 calendar in general agreement with the Gregorian calendar. For more information, see Date Conventions (ISO 8601) at the end of the Glossary in Appendix A.

The metadata merge was then executed assigning the tide phase, diel state, turbine presence indicator, and recorded temperature to each of the integrated 6‑second data points. Tests were executed in order to confirm that each of the 6‑second data points was successfully merged with the metadata and the results were reported via the R Console window so that the analyst could pause processing and resolve the source of any merge failures before continuing on.

Processed data from each of the relevant deployments were appended into an “alldata” dataset from which to create this report. Given the idiosyncrasies of instrument power up, power down, write-file buffering, and surface-to-seafloor entrained air that may not persist for the entirety of a 5‑minute data collection duty cycle, not all 5‑minute duty cycles contain 50 integration periods (5 minutes times 60 seconds per minute divided by 6‑second integration period duration) and not all 5‑minute duty cycles resulted in a complement of only 6‑second integration periods. Some integration periods were as short as 1‑second. Therefore, the data processing R scripts report the statistics of integration period duration to the analyst via the R Console window. The integration period duration statistics will be reported to the analyst during each quarterly report generation so that if there is a substantial deviation in the proportion of integration periods meeting the criteria of greater than or equal to 5 seconds, the analyst will be notified. For the 2018 data, 97% of the 6‑second exported integration periods were greater than and or equal to 5 seconds and were used for this report. Data underlying this report is documented in Appendix B: Version Control.

With the data quality checked, the data merged with the metadata, and then subsetted to include only those integration periods greater than or equal to 5 seconds, in order to support the generation of the analysis figures, the data was then subsetted into the frameworks required for reporting: by time (week, month, quarter, or year‑to‑date), by environmental factor (tide phase or diel state), and by diel state within tide phase.

The metric definitions are as follows.

### Frequency

To report the frequency with which targets consistent with fish were detected, within each 5‑minute data collection duty cycle, the integrated full water column 6‑second intervals were examined for non‑zero Sv values. Because of the reasons stated above, not every 5‑minute data collection duty cycle contained an equal number of observation periods. Therefore, frequency is reported as the proportion of sequential fish-present observation bins within the observable bins in each duty cycle.

### Abundance

Without in situ sampling (e.g., net tows or trawl surveys) that provides specimens for verification of species identification and fish size by which to estimate the echo energy returned by an individual fish, area backscattering strength (Sa, units: dB re 1 m2 m-2; herein “dB”) was used as proxy for abundance. Sa is the log‑form of the area backscattering coefficient (sa), a fundamental hydroacoustic measurement which is a measure of the energy returned from a layer, in this case the full water column. The relationship between Sa and sa is defined in the Glossary in Appendix A.

### Distribution

Center of Mass, as defined in Urmy et al. (2012) is an analysis variable available in the data exported from Echoview. The center of mass is calculated as the average of all sample depths weighted by the associated volume backscattering coefficient (sv), the linear form of the mean volume backscatter strength (Sv). The echo intensity quantified in volume backscattering is a measure of biomass in the water column. Center of Mass as included in the Echoview-exported data was used here as a measure of the distribution of targets within the water column. Because water depth changes throughout the tide cycle, the center of mass was reported in height relative to the seafloor.

### Data Display

To gain an understanding of the metrics (frequency, abundance, distribution) as a function of time (week or month), tide phase, diel state, and diel state within tide phase, a series of figures were produced. The figures each consisted of two graphs within each figure. The top graph consists of stacked bar plots showing the proportion of observations with fish targets present and the proportion of observations with no fish targets present. The bottom graph consists of boxplots illustrating the distribution of the metric. For time periods when a turbine was present in the CLA for more than 50% of the reporting period, the boxplots were shaded gray to indicate the presence of the turbine. A table enumerating the data underlying the data displayed in the boxplots was constructed for the figures where boxplots were constructed by week, by month, by tide phase, and by diel state.

### Boxplot Conventions

The central rectangle in the boxplots include the 25th through 75th data percentiles. A thick line indicates the median. The mean, calculated with the data in its linear form (sv or sa), is indicated by an open square. Whiskers are placed at the minimum and maximum extremes of the data unless the range to the extremes is greater than 1.5 times the size range of the box. Where the range to the extreme is greater than 1.5 times the size range of the box, the whisker is placed at the 1.5 distance range from the edge of the box and any datapoints beyond the 1.5x are plotted individually as an open circle. All calculations were made with the data in its linear form (sv or sa) and where applicable, converted to log form (Sv or Sa) for display. The physical length of the whiskers, although symmetrical relative to the central rectangle, becomes asymmetrical when plotted on a log scale. Red dashed guide lines are inserted to aid comparisons.

# Results

[Insert text specific to this report]

## Frequency

[Insert text specific to this report]

### Frequency - by Time (Week and Month)

[Insert text specific to this report]

Figure 4.1.1. Frequency of Fish-Present Observations by Week.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between weeks. Number of observations are reported in Table 4.1.1. Boxplots: Summarized by week: distribution of consecutive fish-present 6-second observation bins within the 5-minute duty cycles, shown as proportion of the observations periods available in each 5-minute duty cycle. Red dashed guide line inserted at 80% to aid comparisons. Descriptive statistics are reported in Table 4.1.1. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each quarter includes 91 days or 13 weeks subdivided into three months using the following number-of-weeks-per-month pattern: 5+4+4. See Appendix A for more information on ISO 8601 date conventions.

Table 4.1.1. Descriptive Statistics for Frequency of Fish-Present Observations by Week.
n (days): number of days in the reporting period. n (data collection days): number of days during which data was collected for more than 50% of the day, indicating whether data collection occurred every day. n (observations): number of recorded 6-second observation bins during reporting period. n (0) or n (0) %: number or percentage of 6-second observation bins during which no fish were observed. n (1) or n (1) %: number or percentage of 6-second observation bins during which targets consistent with fish were observed. Uninterrupted ‘present’ % (Maximum, Median, Mean, Minimum): descriptive statistics enumerating the distribution of consecutive fish-present 6-second observation bins within the 5-minute duty cycles, shown as proportion of the observation periods available in each 5-minute duty cycle. Observation bins lost to turbulence and entrained air, and therefore biologically unobservable, are not reported here.

| Week # | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| n (days) | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 |
| n (data collection days) | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 3 |  |  |  |  |  |
| n (observations) | 9,711 | 12,386 | 9,298 | 11,421 | 12,194 | 15,816 | 9,918 | 5,003 |  |  |  |  |  |
| n (0) | 2,642 | 5,152 | 1,823 | 1,389 | 2,021 | 2,868 | 995 | 383 |  |  |  |  |  |
| n (1) | 7,069 | 7,234 | 7,475 | 10,032 | 10,173 | 12,948 | 8,923 | 4,620 |  |  |  |  |  |
| n (0) % | 27 % | 42 % | 20 % | 12 % | 17 % | 18 % | 10 % | 8 % |  |  |  |  |  |
| n (1) % | 73 % | 58 % | 80 % | 88 % | 83 % | 82 % | 90 % | 92 % |  |  |  |  |  |
| maximum (uninterrupted 'present') % | 100 % | 98 % | 100 % | 100 % | 100 % | 100 % | 100 % | 100 % |  |  |  |  |  |
| median (uninterrupted 'present') % | 76 % | 59 % | 84 % | 92 % | 90 % | 86 % | 96 % | 98 % |  |  |  |  |  |
| mean (uninterrupted 'present') % | 73 % | 58 % | 80 % | 88 % | 83 % | 82 % | 90 % | 92 % |  |  |  |  |  |
| minimum (uninterrupted 'present') % | 10 % | 10 % | 22 % | 39 % | 20 % | 12 % | 26 % | 26 % |  |  |  |  |  |

Figure 4.1.2. Frequency of Fish-Present Observations by Month.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between months. Number of observations are reported in Table 4.1.2. Boxplots: Summarized by month: distribution of consecutive fish-present 6-second observation bins within the 5-minute duty cycles, shown as proportion of the observation periods available in each 5-minute duty cycle. Red dashed guide line inserted at 80% to aid comparisons. Descriptive statistics are reported in Table 4.1.2. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each quarter includes 91 days or 13 weeks subdivided into three months using the following number-of-weeks-per-month pattern: 5+4+4. See Appendix A for more information on ISO 8601 date conventions.

Table 4.1.2. Descriptive Statistics for Frequency of Fish-Present Observations by Month.
n (weeks): number of weeks in the reporting period. n (days): number of days in the reporting period. n (data collection days): number of days during which data was collected for more than 50% of the day, indicating whether data collection occurred every day. n (observations): number of recorded 6-second observation bins during reporting period. n (0) or n (0) %: number or percentage of 6-second observation bins during which no fish were observed. n (1) or n (1) %: number or percentage of 6-second observation bins during which targets consistent with fish were observed. Uninterrupted ‘present’ % (Maximum, Median, Mean, Minimum): descriptive statistics enumerating the distribution of consecutive fish-present 6-second observation bins within the 5-minute duty cycles, shown as proportion of the observation periods available in each 5-minute duty cycle. Observation bins lost to turbulence and entrained air, and therefore biologically unobservable, are not reported here.

| Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| n (weeks) | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 52 |
| n (days) | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 364 |
| n (data collection days) | 35 | 18 | 3 | 35 | 17 |  |  |  |  |  |  |  | 108 |
| n (observations) | 45,221 | 28,160 | 2,197 | 55,010 | 30,737 |  |  |  |  |  |  |  | 161,325 |
| n (0) | 13,086 | 7,504 | 507 | 13,027 | 4,246 |  |  |  |  |  |  |  | 38,370 |
| n (1) | 32,135 | 20,656 | 1,690 | 41,983 | 26,491 |  |  |  |  |  |  |  | 122,955 |
| n (0) % | 29 % | 27 % | 23 % | 24 % | 14 % |  |  |  |  |  |  |  | 24 % |
| n (1) % | 71 % | 73 % | 77 % | 76 % | 86 % |  |  |  |  |  |  |  | 76 % |
| maximum (uninterrupted) % | 100 % | 100 % | 100 % | 100 % | 100 % |  |  |  |  |  |  |  | 100 % |
| median (uninterrupted) % | 78 % | 79 % | 80 % | 80 % | 92 % |  |  |  |  |  |  |  | 82 % |
| mean (uninterrupted) % | 71 % | 73 % | 77 % | 76 % | 86 % |  |  |  |  |  |  |  | 76 % |
| minimum (uninterrupted) % | 14 % | 4 % | 45 % | 10 % | 12 % |  |  |  |  |  |  |  | 4 % |

### Frequency - by Tide Phase and Month

[Insert text specific to this report]

Figure 4.1.3. Frequency of Fish-Present Observations by Tide Phase Within Month.
Tide Phase shown in chronological order: F, SH, E, SL = Flood, Slack-High, Ebb, Slack-Low.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between tide phases and months. Number of total observations (n(0) + n(1)) are reported in Table 4.1.3. Boxplots: Summarized by month and tide phase: Distribution of consecutive fish-present 6-second observation bins within the 5-minute duty cycles, shown as proportion of the observation periods available in each 5-minute duty cycle. Red dashed guide line inserted at 80% to aid comparisons. Descriptive statistics are reported in Table 4.1.3. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each month includes the number of weeks as shown in Figure 4.1.2. See Appendix A for more information on ISO 8601 date conventions.

Table 4.1.3. Descriptive Statistics for Frequency of Fish-Present Observations by Tide Phase.
n (weeks): number of weeks in the reporting period. n (days): number of days in the reporting period. n (data collection days): number of days during which data was collected for more than 50% of the day, indicating whether data collection occurred every day. n (observations): number of recorded 6-second observation bins during reporting period. n (tide phase) or n (tide phase) %: within the stated tide phase, the number or percentage of all 6-second observation bins inclusive of fish-present (n(1)) and no fish-present (n(0)). Uninterrupted ‘present’ % (Maximum, Median, Mean, Minimum): descriptive statistics enumerating the distribution of consecutive fish-present 6-second observation bins within the 5-minute duty cycles, shown as proportion of the observation periods available in each 5-minute duty cycle. Observation bins lost to turbulence and entrained air, and therefore biologically unobservable, are not reported here.

| Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| n (weeks) | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 52 |
| n (days) | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 364 |
| n (data collection days) | 35 | 18 | 3 | 35 | 17 |  |  |  |  |  |  |  | 108 |
| n (observations) | 45,221 | 28,160 | 2,197 | 55,010 | 30,737 |  |  |  |  |  |  |  | 161,325 |
| n (Flood) | 14,770 | 10,534 | 459 | 17,839 | 10,325 |  |  |  |  |  |  |  | 53,927 |
| n (Slack-High) | 5,569 | 2,957 | 409 | 6,953 | 3,268 |  |  |  |  |  |  |  | 19,156 |
| n (Ebb) | 20,279 | 11,449 | 816 | 23,198 | 13,833 |  |  |  |  |  |  |  | 69,575 |
| n (Slack-Low) | 4,603 | 3,220 | 513 | 7,020 | 3,311 |  |  |  |  |  |  |  | 18,667 |
| n (Flood) % | 33 % | 37 % | 21 % | 32 % | 34 % |  |  |  |  |  |  |  | 33 % |
| n (Slack-High) % | 12 % | 11 % | 19 % | 13 % | 11 % |  |  |  |  |  |  |  | 12 % |
| n (Ebb) % | 45 % | 41 % | 37 % | 42 % | 45 % |  |  |  |  |  |  |  | 43 % |
| n (Slack-Low) % | 10 % | 11 % | 23 % | 13 % | 11 % |  |  |  |  |  |  |  | 12 % |
| maximum (uninterrupted) % | 100 % | 100 % | 100 % | 100 % | 100 % |  |  |  |  |  |  |  | 100 % |
| median (uninterrupted) % | 78 % | 79 % | 80 % | 80 % | 92 % |  |  |  |  |  |  |  | 82 % |
| mean (uninterrupted) % | 71 % | 73 % | 77 % | 76 % | 86 % |  |  |  |  |  |  |  | 76 % |
| minimum (uninterrupted) % | 14 % | 4 % | 45 % | 10 % | 12 % |  |  |  |  |  |  |  | 4 % |

Figure 4.1.4. Frequency of Fish-Present Observations by Month Within Tide Phase.
Month shown in chronological order: J,F,M,A,M,J,J,A,S,O,N,D = January, February, March, etc.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between months and tide phases. Number of total observations (n(0) + n(1)) are reported in Table 4.1.3. Boxplots: Summarized by tide phase and month: Distribution of consecutive fish-present 6-second observations within 5-minute duty cycles, shown as proportion of the observation periods available in each 5-minute duty cycle. Red dashed guide line inserted at 80% to aid comparisons. Descriptive statistics are reported in Table 4.1.3. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each month includes the number of weeks as shown in Figure 4.1.2. See Appendix A for more information on ISO 8601 date conventions.

### Frequency - by Diel State and Month

[Insert text specific to this report]

Figure 4.1.5. Frequency of Fish-Present Observations by Diel State Within Month.
Diel State shown in chronological order: D,D,D,N = Dawn, Day, Dusk, Night.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between diel states and months. Number of total observations (n(0) + n(1)) are reported in Table 4.1.4. Boxplots: Summarized by month and diel state: Distribution of consecutive fish-present 6-second observations within 5-minute duty cycles, shown as proportion of the observation periods available in each 5-minute duty cycle. Red dashed guide line inserted at 80% to aid comparisons. Descriptive statistics are reported in Table 4.1.4. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each month includes the number of weeks as shown in Figure 4.1.2. See Appendix A for more information on ISO 8601 date conventions.

Table 4.1.4. Descriptive Statistics for Frequency of Fish-Present Observations by Diel State.
n (weeks): number of weeks in the reporting period. n (days): number of days in the reporting period. n (data collection days): number of days during which data was collected for more than 50% of the day, indicating whether data collection occurred every day. n (observations): number of recorded 6-second observation bins during reporting period. n (diel state) or n (diel state) %: within the stated diel state, the number or percentage of all 6-second observation bins inclusive of fish-present (n(1)) and no fish-present (n(0)). Uninterrupted ‘present’ % (Maximum, Median, Mean, Minimum): descriptive statistics enumerating the distribution of consecutive fish-present 6-second observation bins within the 5-minute duty cycles, shown as proportion of the observation bins available in each 5-minute duty cycle. Observation bins lost to turbulence and entrained air, and therefore biologically unobservable, are not reported here.

| Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| n (weeks) | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 52 |
| n (days) | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 364 |
| n (data collection days) | 35 | 18 | 3 | 35 | 17 |  |  |  |  |  |  |  | 108 |
| n (observations) | 45,221 | 28,160 | 2,197 | 55,010 | 30,737 |  |  |  |  |  |  |  | 161,325 |
| n (Dawn) | 1,126 | 718 | 52 | 1,173 | 718 |  |  |  |  |  |  |  | 3,787 |
| n (Day) | 16,598 | 11,471 | 1,328 | 31,621 | 18,987 |  |  |  |  |  |  |  | 80,005 |
| n (Dusk) | 1,222 | 615 | 101 | 922 |  |  |  |  |  |  |  |  | 2,860 |
| n (Night) | 26,275 | 15,356 | 716 | 21,294 | 11,032 |  |  |  |  |  |  |  | 74,673 |
| n (Dawn) % | 2 % | 3 % | 2 % | 2 % | 2 % |  |  |  |  |  |  |  | 2 % |
| n (Day) % | 37 % | 41 % | 60 % | 57 % | 62 % |  |  |  |  |  |  |  | 50 % |
| n (Dusk) % | 3 % | 2 % | 5 % | 2 % |  |  |  |  |  |  |  |  | 2 % |
| n (Night) % | 58 % | 55 % | 33 % | 39 % | 36 % |  |  |  |  |  |  |  | 46 % |
| maximum (uninterrupted) % | 100 % | 100 % | 100 % | 100 % | 100 % |  |  |  |  |  |  |  | 100 % |
| median (uninterrupted) % | 78 % | 79 % | 80 % | 80 % | 92 % |  |  |  |  |  |  |  | 82 % |
| mean (uninterrupted) % | 71 % | 73 % | 77 % | 76 % | 86 % |  |  |  |  |  |  |  | 76 % |
| minimum (uninterrupted) % | 14 % | 4 % | 45 % | 10 % | 12 % |  |  |  |  |  |  |  | 4 % |

Figure 4.1.6. Frequency of Fish-Present Observations by Month Within Diel State.
Month shown in chronological order: J,F,M,A,M,J,J,A,S,O,N,D = January, February, March, etc.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between months and diel states. Number of total observations (n(0) + n(1)) are reported in Table 4.1.4. Boxplots: Summarized by diel state and month: Distribution of consecutive fish-present 6-second observations within the 5-minute duty cycles, shown as proportion of the observation periods available in each 5-minute duty cycle. Red dashed guide line inserted at 80% to aid comparisons. Descriptive statistics are reported in Table 4.1.4. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each month includes the number of weeks as shown in Figure 4.1.2. See Appendix A for more information on ISO 8601 date conventions.

### Frequency - by Tide Phase and Diel State

[Insert text specific to this report]

Figure 4.1.7a. Frequency of Fish-Present Observations by Diel State Within Tide Phase.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between diel states and tide phases. Boxplots: Summarized by diel state and tide phase: Distribution of consecutive fish-present 6-second observation bins within the 5-minute duty cycles, shown as proportion of the observation bins available in each 5-minute duty cycle. Red dashed guide line inserted at 80% to aid comparisons. See text for description of boxplot conventions. If no data plotted: turbine was present during entirety of this reporting period.

Figure 4.1.7b. Frequency of Fish-Present Observations by Diel State Within Tide Phase.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between diel states and tide phases. Boxplots: Summarized by diel state and tide phase: Distribution of consecutive fish-present 6-second observation bins within the 5-minute duty cycles, shown as proportion of the observation bins available in each 5-minute duty cycle. Red dashed guide line inserted at 80% to aid comparisons. See text for description of boxplot conventions. If no data plotted: turbine was not present during this reporting period.

## Abundance

### Abundance - by Time (Week and Month)

[Insert text specific to this report]

Figure 4.2.1. Fish Abundance Observations (Sa) by Week.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between weeks. Number of observations are reported in Table 4.2.1. Boxplots: non-zero Sa observations summarized by week. Red dashed guide line inserted at -70 dB to aid comparisons. Descriptive statistics are reported in Table 4.2.1. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each quarter includes 91 days or 13 weeks subdivided into three months using the following number-of-weeks-per-month pattern: 5+4+4. See Appendix A for more information on ISO 8601 date conventions.

Table 4.2.1. Descriptive Statistics for Fish Abundance Observations by Week.
n (days): number of days in the reporting period. n (data collection days): number of days during which data was collected for more than 50% of the day, indicating whether data collection occurred every day. n (observations): number of recorded 6-second observation bins during reporting period. n (0) or n (0) %: number or percentage of 6-second observation bins during which no fish were observed. n (1) or n (1) %: number or percentage of 6-second observation bins during which fish were observed. Sa (dB) (Maximum, Median, Mean, Minimum): descriptive statistics of the fish-present Sa values within each time period. Zero-value observations indicating no fish observation within an individual 6-second observation bin were excluded. All calculations were done with the data in its linear form and converted to its log form for reporting. Observation bins lost to turbulence and entrained air, and therefore biologically unobservable, are not reported here.

| Week # | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| n (days) | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 |
| n (data collection days) | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 3 |  |  |  |  |  |
| n (observations) | 9,711 | 12,386 | 9,298 | 11,421 | 12,194 | 15,816 | 9,918 | 5,003 |  |  |  |  |  |
| n (0) | 2,642 | 5,152 | 1,823 | 1,389 | 2,021 | 2,868 | 995 | 383 |  |  |  |  |  |
| n (1) | 7,069 | 7,234 | 7,475 | 10,032 | 10,173 | 12,948 | 8,923 | 4,620 |  |  |  |  |  |
| n (0) % | 27 % | 42 % | 20 % | 12 % | 17 % | 18 % | 10 % | 8 % |  |  |  |  |  |
| n (1) % | 73 % | 58 % | 80 % | 88 % | 83 % | 82 % | 90 % | 92 % |  |  |  |  |  |
| maximum Sa (dB) | -45 | -42 | -39 | -40 | -39 | -39 | -35 | -36 |  |  |  |  |  |
| median Sa (dB) | -74 | -77 | -74 | -73 | -73 | -72 | -69 | -67 |  |  |  |  |  |
| mean Sa (dB) | -68 | -70 | -67 | -66 | -65 | -64 | -63 | -61 |  |  |  |  |  |
| minimum Sa (dB) | -93 | -93 | -93 | -93 | -93 | -93 | -93 | -93 |  |  |  |  |  |

Figure 4.2.2. Fish Abundance Observations (Sa) by Month.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between months. Number of observations are reported in Table 4.2.2. Boxplots: non-zero Sa observations summarized by month. Red dashed guide line inserted at -70 dB to aid comparisons. Descriptive statistics are reported in Table 4.2.2. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each quarter includes 91 days or 13 weeks subdivided into three months using the following number-of-weeks-per-month pattern: 5+4+4. See Appendix A for more information on ISO 8601 date conventions.

Table 4.2.2. Descriptive Statistics for Fish Abundance Observations by Month.
n (weeks): number of weeks in the reporting period. n (days): number of days in the reporting period. n (data collection days): number of days during which data was collected for more than 50% of the day, indicating whether data collection occurred every day. n (observations): number of recorded 6-second observation bins during reporting period. n (0) or n (0) %: number or percentage of 6-second observation bins during which no fish were observed. n (1) or n (1) %: number or percentage of 6-second observation bins during which fish were observed. Sa (dB) (Maximum, Median, Mean, Minimum): descriptive statistics of the fish-present Sa values within each time period. Zero-value observations indicating no fish observation within an individual 6-second observation bin were excluded. All calculations were done with the data in its linear form and converted to its log form for reporting. Observation bins lost to turbulence and entrained air, and therefore biologically unobservable, are not reported here.

| Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| n (weeks) | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 52 |
| n (days) | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 364 |
| n (data collection days) | 35 | 18 | 3 | 35 | 17 |  |  |  |  |  |  |  | 108 |
| n (observations) | 45,221 | 28,160 | 2,197 | 55,010 | 30,737 |  |  |  |  |  |  |  | 161,325 |
| n (0) | 13,086 | 7,504 | 507 | 13,027 | 4,246 |  |  |  |  |  |  |  | 38,370 |
| n (1) | 32,135 | 20,656 | 1,690 | 41,983 | 26,491 |  |  |  |  |  |  |  | 122,955 |
| n (0) % | 29 % | 27 % | 23 % | 24 % | 14 % |  |  |  |  |  |  |  | 24 % |
| n (1) % | 71 % | 73 % | 77 % | 76 % | 86 % |  |  |  |  |  |  |  | 76 % |
| maximum Sa (dB) | -38 | -42 | -48 | -39 | -35 |  |  |  |  |  |  |  | -35 |
| median Sa (dB) | -74 | -74 | -75 | -74 | -70 |  |  |  |  |  |  |  | -73 |
| mean Sa (dB) | -68 | -68 | -70 | -67 | -63 |  |  |  |  |  |  |  | -66 |
| minimum Sa (dB) | -93 | -93 | -93 | -93 | -93 |  |  |  |  |  |  |  | -93 |

### Abundance - by Tide Phase and Month

[Insert text specific to this report]

Figure 4.2.3. Fish Abundance Observations (Sa) by Tide Phase Within Month.
Tide Phase shown in chronological order: F, SH, E, SL = Flood, Slack-High, Ebb, Slack-Low.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between tide phases and months. Number of total observations (n(0) + n(1)) are reported in Table 4.2.3. Boxplots: non-zero Sa observations summarized by tide phase within month. Red dashed guide line inserted at -70 dB to aid comparisons. Descriptive statistics are reported in Table 4.2.3. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each month includes the number of weeks as shown in Figure 4.2.2. See Appendix A for more information on ISO 8601 date conventions.

Table 4.2.3. Descriptive Statistics for Fish Abundance Observations by Tide Phase.
n (weeks): number of weeks in the reporting period. n (days): number of days in the reporting period. n (data collection days): number of days during which data was collected for more than 50% of the day, indicating whether data collection occurred every day. n (observations): number of recorded 6-second observation bins during reporting period. n (tide phase) or n (tide phase) %: within the stated tide phase, the number or percentage of all 6-second observations bins inclusive of fish-present (n(1)) and no fish-present (n(0)). Sa (dB) (Maximum, Median, Mean, Minimum): descriptive statistics of the fish-present Sa values within each time period. Zero-value observations indicating no fish observation within an individual 6-second observation bin were excluded. All calculations were done with the data in its linear form and converted to its log form for reporting. Observation bins lost to turbulence and entrained air, and therefore biologically unobservable, are not reported here.

| Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| n (weeks) | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 52 |
| n (days) | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 364 |
| n (data collection days) | 35 | 18 | 3 | 35 | 17 |  |  |  |  |  |  |  | 108 |
| n (observations) | 45,221 | 28,160 | 2,197 | 55,010 | 30,737 |  |  |  |  |  |  |  | 161,325 |
| n (Flood) | 14,770 | 10,534 | 459 | 17,839 | 10,325 |  |  |  |  |  |  |  | 53,927 |
| n (Slack-High) | 5,569 | 2,957 | 409 | 6,953 | 3,268 |  |  |  |  |  |  |  | 19,156 |
| n (Ebb) | 20,279 | 11,449 | 816 | 23,198 | 13,833 |  |  |  |  |  |  |  | 69,575 |
| n (Slack-Low) | 4,603 | 3,220 | 513 | 7,020 | 3,311 |  |  |  |  |  |  |  | 18,667 |
| n (Flood) % | 33 % | 37 % | 21 % | 32 % | 34 % |  |  |  |  |  |  |  | 33 % |
| n (Slack-High) % | 12 % | 11 % | 19 % | 13 % | 11 % |  |  |  |  |  |  |  | 12 % |
| n (Ebb) % | 45 % | 41 % | 37 % | 42 % | 45 % |  |  |  |  |  |  |  | 43 % |
| n (Slack-Low) % | 10 % | 11 % | 23 % | 13 % | 11 % |  |  |  |  |  |  |  | 12 % |
| maximum Sa (dB) | -38 | -42 | -48 | -39 | -35 |  |  |  |  |  |  |  | -35 |
| median Sa (dB) | -74 | -74 | -75 | -74 | -70 |  |  |  |  |  |  |  | -73 |
| mean Sa (dB) | -68 | -68 | -70 | -67 | -63 |  |  |  |  |  |  |  | -66 |
| minimum Sa (dB) | -93 | -93 | -93 | -93 | -93 |  |  |  |  |  |  |  | -93 |

Figure 4.2.4. Fish Abundance Observations (Sa) by Month Within Tide Phase.
Month shown in chronological order: J,F,M,A,M,J,J,A,S,O,N,D = January, February, March, etc.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between months and tide phases. Number of total observations (n(0) + n(1)) are reported in Table 4.2.3. Boxplots: non-zero Sa observations summarized by month within tide phase. Red dashed guide line inserted at -70 dB to aid comparisons. Descriptive statistics are reported in Table 4.2.3. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each month includes the number of weeks as shown in Figure 4.2.2. See Appendix A for more information on ISO 8601 date conventions.

### Abundance - by Diel State and Month

[Insert text specific to this report]

Figure 4.2.5. Fish Abundance Observations (Sa) by Diel State Within Month.
Diel State shown in chronological order: D,D,D,N = Dawn, Day, Dusk, Night.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between diel states and months. Number of total observations (n(0) + n(1)) are reported in Table 4.2.4. Boxplots: non-zero Sa observations summarized by diel state within month. Red dashed guide line inserted at -70 dB to aid comparisons. Descriptive statistics are reported in Table 4.2.4. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each month includes the number of week as shown in Figure 4.2.2. See Appendix A for more information on ISO 8601 date conventions.

Table 4.2.4. Descriptive Statistics for Fish Abundance Observations by Diel State.
n (weeks): number of weeks in the reporting period. n (days): number of days in the reporting period. n (data collection days): number of days during which data was collected for more than 50% of the day, indicating whether data collection occurred every day. n (observations): number of recorded 6-second observation bins during reporting period. n (diel state) or n (diel state) %: within the stated diel state, the number or percentage of all 6-second observation bins inclusive of fish-present (n(1)) and no fish-present (n(0)). Sa (dB) (Maximum, Median, Mean, Minimum): descriptive statistics of the fish-present Sa values within each time period. Zero value observations indicating no fish observation within an individual 6-second observation bin were excluded. All calculations were done with the data in its linear form and converted to its log form for reporting. Observation bins lost to turbulence and entrained air, and therefore biologically unobservable, are not reported here.

| Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| n (weeks) | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 52 |
| n (days) | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 364 |
| n (data collection days) | 35 | 18 | 3 | 35 | 17 |  |  |  |  |  |  |  | 108 |
| n (observations) | 45,221 | 28,160 | 2,197 | 55,010 | 30,737 |  |  |  |  |  |  |  | 161,325 |
| n (Dawn) | 1,126 | 718 | 52 | 1,173 | 718 |  |  |  |  |  |  |  | 3,787 |
| n (Day) | 16,598 | 11,471 | 1,328 | 31,621 | 18,987 |  |  |  |  |  |  |  | 80,005 |
| n (Dusk) | 1,222 | 615 | 101 | 922 |  |  |  |  |  |  |  |  | 2,860 |
| n (Night) | 26,275 | 15,356 | 716 | 21,294 | 11,032 |  |  |  |  |  |  |  | 74,673 |
| n (Dawn) % | 2 % | 3 % | 2 % | 2 % | 2 % |  |  |  |  |  |  |  | 2 % |
| n (Day) % | 37 % | 41 % | 60 % | 57 % | 62 % |  |  |  |  |  |  |  | 50 % |
| n (Dusk) % | 3 % | 2 % | 5 % | 2 % |  |  |  |  |  |  |  |  | 2 % |
| n (Night) % | 58 % | 55 % | 33 % | 39 % | 36 % |  |  |  |  |  |  |  | 46 % |
| maximum Sa (dB) | -38 | -42 | -48 | -39 | -35 |  |  |  |  |  |  |  | -35 |
| median Sa (dB) | -74 | -74 | -75 | -74 | -70 |  |  |  |  |  |  |  | -73 |
| mean Sa (dB) | -68 | -68 | -70 | -67 | -63 |  |  |  |  |  |  |  | -66 |
| minimum Sa (dB) | -93 | -93 | -93 | -93 | -93 |  |  |  |  |  |  |  | -93 |

Figure 4.2.6. Fish Abundance Observations (Sa) by Month Within Diel State.
Month shown in chronological order: J,F,M,A,M,J,J,A,S,O,N,D = January, February, March, etc.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between months and diel states. Number of total observations are reported in Table 4.2.4. Boxplots: non-zero Sa observations summarized by month within diel state. Red dashed guide line inserted at -70 dB to aid comparisons. Descriptive statistics are reported in Table 4.2.4. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each month includes the number of weeks as shown in Figure 4.2.2. See Appendix A for more information on ISO 8601 date conventions.

### Abundance - by Tide Phase and Diel State

[Insert text specific to this report]

Figure 4.2.7a. Fish Abundance Observations (Sa) by Diel State Within Tide Phase.
Diel State shown in chronological order: D,D,D,N = Dawn, Day, Dusk, Night. Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between diel states and tide phases. Boxplots: Summarized by diel state within tide phase: non-zero Sa observations. Red dashed guide line inserted at -70 dB to aid comparisons. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. If no data plotted: turbine was present during entirety of this reporting period.

Figure 4.2.7b. Fish Abundance Observations (Sa) by Diel State Within Tide Phase.
Diel State shown in chronological order: D,D,D,N = Dawn, Day, Dusk, Night. Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between diel states and tide phases. Boxplots: Summarized by diel state within tide phase: non-zero Sa observations. Red dashed guide line inserted at -70 dB to aid comparisons. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. If no data plotted: turbine was not present during this reporting period.

## Distribution

### Distribution - by Time (Week and Month)

[Insert text specific to this report]

Figure 4.3.1. Fish Distribution Observations (Center of Mass) by Week.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between weeks. Number of observations are reported in Table 4.3.1. Boxplots: Center of Mass for each fish-present observation period summarized by week, reported in height off bottom, HOB (m). Red dashed guide line inserted at 15 m to aid comparisons. Descriptive statistics are reported in Table 4.3.1. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each quarter includes 91 days or 13 weeks subdivided into three months using the following number-of-weeks-per-month pattern: 5+4+4. See Appendix A for more information on ISO 8601 date conventions.

Table 4.3.1. Descriptive Statistics for Fish Distribution Observations (Center of Mass) by Week.
n (days): number of days in the reporting period. n (data collection days): number of days during which data was collected for more than 50% of the day, indicating whether data collection occurred every day. n (observations): number of recorded 6-second observation bins during reporting period. n (0) or n (0) %: number or percentage of 6-second observation bins during which no fish were observed. n (1) or n (1) %: number or percentage of 6-second observation bins during which fish were observed. CoM (m) (Maximum, Median, Mean, Minimum): descriptive statistics of the center of mass in height off bottom in meters, HOB (m), within each time period. Observation lost to turbulence and entrained air, and therefore biologically unobservable, are not reported here.

| Week # | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| n (days) | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 |
| n (data collection days) | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 3 |  |  |  |  |  |
| n (observations) | 9,711 | 12,386 | 9,298 | 11,421 | 12,194 | 15,816 | 9,918 | 5,003 |  |  |  |  |  |
| n (0) | 2,642 | 5,152 | 1,823 | 1,389 | 2,021 | 2,868 | 995 | 383 |  |  |  |  |  |
| n (1) | 7,069 | 7,234 | 7,475 | 10,032 | 10,173 | 12,948 | 8,923 | 4,620 |  |  |  |  |  |
| n (0) % | 27 % | 42 % | 20 % | 12 % | 17 % | 18 % | 10 % | 8 % |  |  |  |  |  |
| n (1) % | 73 % | 58 % | 80 % | 88 % | 83 % | 82 % | 90 % | 92 % |  |  |  |  |  |
| maximum HOB CoM (m) | 42 | 42 | 43 | 43 | 42 | 42 | 42 | 42 |  |  |  |  |  |
| median HOB CoM (m) | 17 | 17 | 17 | 19 | 20 | 20 | 18 | 20 |  |  |  |  |  |
| mean HOB CoM (m) | 17 | 18 | 18 | 19 | 20 | 20 | 18 | 20 |  |  |  |  |  |
| minimum HOB CoM (m) | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  |  |  |  |  |

Figure 4.3.2. Fish Distribution Observations (Center of Mass) by Month.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between months. Number of observations are reported in Table 4.3.2. Boxplots: Center of Mass for each fish-present observation period summarized by month, reported in height off bottom, HOB (m). Red dashed guide line inserted at 15 m to aid comparisons. Descriptive statistics are reported in Table 4.3.2. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each quarter includes 91 days or 13 weeks subdivided into three months using the following number-of-weeks-per-month pattern: 5+4+4. See Appendix A for more information on ISO 8601 date conventions.

Table 4.3.2. Descriptive Statistics for Fish Distribution Observations (Center of Mass) by Month.
n (weeks): number of weeks in the reporting period. n (days): number of days in the reporting period. n (data collection days): number of days during which data was collected for more than 50% of the day, indicating whether data collection occurred every day. n (observations): number of recorded 6-second observation bins during reporting period. n (0) or n (0) %: number or percentage of 6-second observation bins during which no fish were observed. n (1) or n (1) %: number or percentage of 6-second observation bins during which fish were observed. CoM (m) (Maximum, Median, Mean, Minimum): descriptive statistics of the center of mass in height off bottom in meters, HOB (m). Observations lost to turbulence and entrained air, and therefore biologically unobservable, are not reported here.

| Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| n (weeks) | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 52 |
| n (days) | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 364 |
| n (data collection days) | 35 | 18 | 3 | 35 | 17 |  |  |  |  |  |  |  | 108 |
| n (observations) | 45,221 | 28,160 | 2,197 | 55,010 | 30,737 |  |  |  |  |  |  |  | 161,325 |
| n (0) | 13,086 | 7,504 | 507 | 13,027 | 4,246 |  |  |  |  |  |  |  | 38,370 |
| n (1) | 32,135 | 20,656 | 1,690 | 41,983 | 26,491 |  |  |  |  |  |  |  | 122,955 |
| n (0) % | 29 % | 27 % | 23 % | 24 % | 14 % |  |  |  |  |  |  |  | 24 % |
| n (1) % | 71 % | 73 % | 77 % | 76 % | 86 % |  |  |  |  |  |  |  | 76 % |
| maximum HOB CoM (m) | 39 | 41 | 43 | 43 | 42 |  |  |  |  |  |  |  | 43 |
| median HOB CoM (m) | 15 | 16 | 17 | 18 | 20 |  |  |  |  |  |  |  | 17 |
| mean HOB CoM (m) | 16 | 16 | 18 | 19 | 19 |  |  |  |  |  |  |  | 18 |
| minimum HOB CoM (m) | 2 | 2 | 2 | 2 | 2 |  |  |  |  |  |  |  | 2 |

### Distribution - by Tide Phase and Month

[Insert text specific to this report]

Figure 4.3.3. Fish Distribution Observations (Center of Mass) by Tide Phase Within Month.
Tide Phase shown in chronological order: F, SH, E, SL = Flood, Slack-High, Ebb, Slack-Low.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between tide phases and months. Number of total observations (n(0) + n(1)) are reported in Table 4.3.3. Boxplots: Center of Mass for each fish-present observation period summarized by tide phase within month, reported as height off bottom in meters, HOB (m). Red dashed guide line inserted at 15 m to aid comparisons. Descriptive statistics are reported in Table 4.3.3. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each month includes the number of weeks as shown in Figure 4.3.2. See Appendix A for more information on ISO 8601 date conventions.

Table 4.3.3. Descriptive Statistics for Fish Distribution Observations (Center of Mass) by Tide Phase.
n (weeks): number of weeks in the reporting period. n (days): number of days in the reporting period. n (data collection days): number of days during which data was collected for more than 50% of the day, indicating whether data collection occurred every day. n (observations): number of recorded 6-second observation bins during reporting period. n (tide phase) or n (tide phase) %: within the stated tide phase, the number or percentage of all 6-second observations bins inclusive of fish-present (n(1)) and fish-absent (n(0)) observations. CoM (m) (Maximum, Median, Mean, Minimum): descriptive statistics of the center of mass reported in height off the bottom in meters, HOB (m). Observations lost to turbulence and entrained air, and therefore biologically unobservable, are not reported here.

| Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| n (weeks) | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 52 |
| n (days) | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 364 |
| n (data collection days) | 35 | 18 | 3 | 35 | 17 |  |  |  |  |  |  |  | 108 |
| n (observations) | 45,221 | 28,160 | 2,197 | 55,010 | 30,737 |  |  |  |  |  |  |  | 161,325 |
| n (Flood) | 14,770 | 10,534 | 459 | 17,839 | 10,325 |  |  |  |  |  |  |  | 53,927 |
| n (Slack-High) | 5,569 | 2,957 | 409 | 6,953 | 3,268 |  |  |  |  |  |  |  | 19,156 |
| n (Ebb) | 20,279 | 11,449 | 816 | 23,198 | 13,833 |  |  |  |  |  |  |  | 69,575 |
| n (Slack-Low) | 4,603 | 3,220 | 513 | 7,020 | 3,311 |  |  |  |  |  |  |  | 18,667 |
| n (Flood) % | 33 % | 37 % | 21 % | 32 % | 34 % |  |  |  |  |  |  |  | 33 % |
| n (Slack-High) % | 12 % | 11 % | 19 % | 13 % | 11 % |  |  |  |  |  |  |  | 12 % |
| n (Ebb) % | 45 % | 41 % | 37 % | 42 % | 45 % |  |  |  |  |  |  |  | 43 % |
| n (Slack-Low) % | 10 % | 11 % | 23 % | 13 % | 11 % |  |  |  |  |  |  |  | 12 % |
| maximum HOB CoM (m) | 39 | 41 | 43 | 43 | 42 |  |  |  |  |  |  |  | 43 |
| median HOB CoM (m) | 15 | 16 | 17 | 18 | 20 |  |  |  |  |  |  |  | 17 |
| mean HOB CoM (m) | 16 | 16 | 18 | 19 | 19 |  |  |  |  |  |  |  | 18 |
| minimum HOB CoM (m) | 2 | 2 | 2 | 2 | 2 |  |  |  |  |  |  |  | 2 |

Figure 4.3.4. Fish Distribution Observations (Center of Mass) by Month Within Tide Phase.
Month shown in chronological order: J,F,M,A,M,J,J,A,S,O,N,D = January, February, March, etc.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between months and tide phases. Number of total observations (n(0) + n(1)) are reported in Table 4.3.3. Boxplots: Center of Mass for each fish-present observation period summarized by month within tide phase, reported in height off bottom in meters, HOB (m). Red dashed guide line inserted at 15 m to aid comparisons. Descriptive statistics are reported in Table 4.3.3. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each month includes the number of weeks as shown in Figure 4.3.2. See Appendix A for more information on ISO 8601 date conventions.

### Distribution - by Diel State and Month

[Insert text specific to this report]

Figure 4.3.5. Fish Distribution Observations (Center of Mass) by Diel State Within Month.
Diel State shown in chronological order: D,D,D,N = Dawn, Day, Dusk, Night.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between diel states and months. Number of total observations (n(0) + n(1)) are reported in Table 4.3.4. Boxplots: Center of Mass for each fish-present observation period summarized by diel state within month, reported as height off bottom in meters, HOB (m). Red dashed guide line inserted at 15 m to aid comparisons. Descriptive statistics are reported in Table 4.3.4. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each month includes the number of week as shown in Figure 4.3.2. See Appendix A for more information on ISO 8601 date conventions.

Table 4.3.4. Descriptive Statistics for Fish Distribution Observations (Center of Mass) by Diel State.
n (weeks): number of weeks in the reporting period. n (days): number of days in the reporting period. n (data collection days): number of days during which data was collected for more than 50% of the day, indicating whether data collection occurred every day. n (observations): number of recorded 6-second observation bins during reporting period. n (diel state) or n (diel state) %: within the stated diel state, the number or percentage of all 6-second observation bins inclusive of fish-present (n(1)) and fish-absent (n(0)) observations. CoM (m) (Maximum, Median, Mean, Minimum): descriptive statistics of the center of mass reported in height off the bottom in meters, HOB (m). Observations lost to turbulence and entrained air, and therefore biologically unobservable, are not reported here.

| Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| n (weeks) | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 5 | 4 | 4 | 52 |
| n (days) | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 35 | 28 | 28 | 364 |
| n (data collection days) | 35 | 18 | 3 | 35 | 17 |  |  |  |  |  |  |  | 108 |
| n (observations) | 45,221 | 28,160 | 2,197 | 55,010 | 30,737 |  |  |  |  |  |  |  | 161,325 |
| n (Dawn) | 1,126 | 718 | 52 | 1,173 | 718 |  |  |  |  |  |  |  | 3,787 |
| n (Day) | 16,598 | 11,471 | 1,328 | 31,621 | 18,987 |  |  |  |  |  |  |  | 80,005 |
| n (Dusk) | 1,222 | 615 | 101 | 922 |  |  |  |  |  |  |  |  | 2,860 |
| n (Night) | 26,275 | 15,356 | 716 | 21,294 | 11,032 |  |  |  |  |  |  |  | 74,673 |
| n (Dawn) % | 2 % | 3 % | 2 % | 2 % | 2 % |  |  |  |  |  |  |  | 2 % |
| n (Day) % | 37 % | 41 % | 60 % | 57 % | 62 % |  |  |  |  |  |  |  | 50 % |
| n (Dusk) % | 3 % | 2 % | 5 % | 2 % |  |  |  |  |  |  |  |  | 2 % |
| n (Night) % | 58 % | 55 % | 33 % | 39 % | 36 % |  |  |  |  |  |  |  | 46 % |
| maximum HOB CoM (m) | 39 | 41 | 43 | 43 | 42 |  |  |  |  |  |  |  | 43 |
| median HOB CoM (m) | 15 | 16 | 17 | 18 | 20 |  |  |  |  |  |  |  | 17 |
| mean HOB CoM (m) | 16 | 16 | 18 | 19 | 19 |  |  |  |  |  |  |  | 18 |
| minimum HOB CoM (m) | 2 | 2 | 2 | 2 | 2 |  |  |  |  |  |  |  | 2 |

Figure 4.3.6. Fish Distribution Observations (Center of Mass) by Month Within Diel State.
Month shown in chronological order: J,F,M,A,M,J,J,A,S,O,N,D = January, February, March, etc.
Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between months and diel states. Number of total observations (n(0) + n(1)) are reported in Table 4.3.4. Boxplots: Center of Mass for each fish-present observation period summarized by month within diel state, reported as height off bottom in meters, HOB (m). Red dashed guide line inserted at 15 m to aid comparisons. Descriptive statistics are reported in Table 4.3.4. See text for description of boxplot conventions. Gray shaded boxplots, if present, indicate the presence of a turbine within the CLA during 50% or more of the time period. Each month includes the number of weeks as shown in Figure 4.3.2. See Appendix A for more information on ISO 8601 date conventions.

### Distribution - by Tide Phase and Diel State

[Insert text specific to this report]

Figure 4.3.7a. Fish Distribution Observations (Center of Mass) by Diel State Within Tide Phase.
Diel State shown in chronological order: D,D,D,N = Dawn, Day, Dusk, Night. Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between diel states and tide phases. Boxplots: Center of Mass for each fish-present observation period summarized by diel state within tide phase, reported in height off bottom in meters, HOB (m). Red dashed guide line inserted at 15 m (HOB) to aid comparisons. See text for description of boxplot conventions. Data is reported year-to-date. If no data plotted: turbine was present during the entirety of this reporting period.

Figure 4.3.7b. Fish Distribution Observations (Center of Mass) by Diel State Within Tide Phase.
Diel State shown in chronological order: D,D,D,N = Dawn, Day, Dusk, Night. Stacked bar plots: proportion of fish-present (shaded) and fish-absent (white) observations. y-axis standardized to 100% making proportion of fish-present observations comparable between diel states and tide phases. Boxplots: Center of Mass for each fish-present observation period summarized by diel state within tide phase, reported in height off bottom in meters, HOB (m). Red dashed guide line inserted at 15 m (HOB) to aid comparisons. See text for description of boxplot conventions. Data is reported year-to-date. If no data plotted: turbine was not present during this reporting period.

# Discussion

# Acknowledgements

We would like to thank the following individuals and organizations for their contributions to this effort:

Haley Viehman Ph.D. at Echoview Support for contributions to Echoview export script coding, interpretation of Echoview export variables, and Echoview post-processing guidance and expertise.

Jordan Bradfield of IBM for coding the Python script that merges information from user input, additional data streams, and web-based data (tide phase and diel state) to generate the file required for merging hydroacoustic data with environmental data and other metadata used in this report.

Mahtab Sarvmaili, Jason Newport Ph.D., and Chris Whidden Ph.D. of DeepSense at Dalhousie University for their contribution to the initial draft of the R coding to generate tables and figures.

The Offshore Energy Research Association (OERA) for providing funding through the Pathway Program to support this effort, and Natural Resources Canada (NRCAN) for funding the Pathway Program through the Emerging Renewable Power Program.

Fisheries and Oceans Canada (Fish and Fish Habitat Protection Program; Science) for providing guidance and feedback on the draft report structure.

# References

Allaire, J.J., Xie, Y., McPherson, J., Luraschi, J., Ushey, K., Atkins, A., Wickham, H., et al. (2021). rmarkdown: Dynamic Documents for R. R package version 2.7. URL https://rmarkdown.rstudio.com

Coates, R.F.W. (1989). Underwater Acoustic Systems. Wiley & Sons, Inc. New York.

Culina, J. and Karsten, R., (2014). Observed amd Modelled Tidal and Turbulence Flow in the Crown Lease Area. Report to FORCE.

Demer, D.A., Berger, L., Bernasconi, M., Bethke, E., Boswell, K., Chu, D., Domokos, R., et al. (2015). Calibration of acoustic instruments. ICES Cooperative Research Report No. 326. 130 pp.

Fader, G. (2009). Geology, Bathymetry, Ice and Seismic Conditions. Appendix 3 to Environmental Assessment Registration Document - Fundy Tidal Energy Demonstration Project Volume 1: Environmental Assessment. Project Number 107405 prepared by AECOM Canada Ltd.

Fraser, S., Nikora, V., Williamson, B.J., and Scott, B.E. (2017). Automotive active acoustic target detection in turbulent aquatic environments. Limnol. Oceangr. Methods 15(2): 184-199.

Johannesson, K.A. and Mitson, R.B. (1983). Fisheries Acoustics: A practical manual for aquatic biomass estimation. FAO Fisheries Technical Paper 240. Food and Agriculture Organization of the United Nations. Rome.

Karsten, R. (2012). Tidal Energy Resource Assessment Map for Nova Scotia. Report to OEER/OETR.

Love, R.H. (1971). Measurements of Fish Target Strength: A Review. Fishery Bulletin 69(4): 703-715.

Martin, B., Whitt, C., and Horwich, L. (2018). Acoustic Data Analysis of the OpenHydro Open-Centre Turbine at FORCE: Final Report. Document 01588, Version 3.0b. Technical report by JASCO Applied Sciences for Cape Sharp Tidal and FORCE.

R Core Team (2020). R: A Language and Environment for Statistical Computing. R Foundation for Statistical Computing, Vienna, Austria. https://www.R-project.org.

Simmonds, J., and MacLennan, D. (2005). Fisheries Acoustics Theory and Practice, 2nd edition. Blackwell Publishing, Oxford, UK.

Urick, R.J. (1983). Principles of Underwater Sound, 3rd edition. Peninsula Publishing, Los Altos, California.

Urmy, S.S., Horne, J.K., and Barbee, D.H. (2012). Measuring the vertical distributional variability of pelagic fauna in Monterey Bay. ICES Journal of Marine Science. 69: 184-196.

Viehman, H., Hasselman, D., Boucher, T., Douglas, J., and Bennett, L. (2019). Integrating Hydroacoustic Approaches to Predict Fish Interactions with In-stream Tidal Turbines. Report for Fundy Ocean Research Center for Energy (FORCE). Project number: 300-208.

Williamson, B., Fraser, S., Blondel, P., Bell, P., Waggitt, J., and Scott, B. (2016). Integrating a multibeam and multifrequency echosounder on the FLOWBEC seabed platform to track fish and seabird behavior around tidal turbine structures. In 4th Marine Energy Technology Symposium (METS). Washington, D.C. p.5.

Williamson, B., Fraser, S., Blondel, P., Bell, P.S., Waggitt, J.J., and Scott, B.E. (2017). Multisensor Acoustic Tracking of Fish and Seabird Behavior Around Tidal Turbine Structures in Scotland. IEEE Journal of Oceanic Engineering 42(4): 948-965.

# Appendix A: Glossary

#### Hydroacoustic Terminology

dB: decibel
            a logarithmic scale used to report the amplitude of hydroacoustic measurements
            The linear form of backscattering values are very small values such as 1e-6 and
            can be distributed over a range of many orders of magnitude.
            Therefore, after executing all calculations with the data in linear form,
            in order to display the full dynamic range of the data, the linear
            form is converted to its log form for reporting.

3 dB: a 3 dB change in Sv, Sa, or TS
            is equivalent to a doubling or halving in linear terms

10 dB: a 10 dB change in Sv, Sa, or TS
            is equivalent to a change by an order of magnitude in linear terms

20 dB: a 20 dB change in Sv, Sa, or TS
            is equivalent to a change by two orders of magnitude in linear terms

EV: Echoview Software
             industry-standard software used for post-processing hydroacoustic data
             to prepare the data for use in analyses

GMT: Greenwich Mean Time
             used interchangeably with UTC (Coordinated Universal Time)

Sa: area backscattering strength
             the log form of a fundamental hydroacoustic measurement
             a proxy for relative fish abundance
             unit: dB re 1(m2 m-2)
             relationship to sa: Sa = 10 * log10(sa)

sa: area backscattering coefficient
             the linear form of a fundamental hydroacoustic measurement
             a proxy for relative fish abundance
             unit: m2 m-2
             relationship to Sa: sa = 10^(Sa / 10)^

Sv: mean volume backscattering strength
             the log form of a fundamental hydroacoustic measurement
             a proxy for relative fish density
             unit: dB re 1 m-1
             relationship to sv: Sv = 10 * log10(sv)

sv: volume backscattering coefficient
             the linear form of a fundamental hydroacoustic measurement
             a proxy for relative fish density
             unit: m-1
             relationship to Sv: sv = 10 ^ (Sv / 10)

TS: Target Strength
             the log form of a fundamental hydroacoustic measurement
             a measure of the efficiency with which a single target scatters sound
             if relationship is known, can be used to convert acoustic measurements
                                       to fish length, density, or abundance
             unit: dB re 1 m2

#### Other Terminology

CLA: Crown Lease Area
            tidal power demonstration site in Minas Passage
            operated by the Fundy Ocean Research Center for Energy (FORCE)

Diel State:
            Dawn: start of civil twilight to sunrise
            Day: sunrise to sunset
            Dusk: sunset to end of civil twilight
            Night: end of dusk to start of dawn

Tide Phase:
            Flood: 30 minutes after predicted low to 30 minutes before predicted high
            Slack-High: 30 minutes before predicted high to 30 minutes after predicted high
            Ebb: 30 minutes after predicted high to 30 minutes before predicted low
            Slack-Low: 30 minutes before predicted low to 30 minutes after predicted low

turbine:
             a device engineered to convert tidal energy to electricity

#### Date Conventions (ISO 8601)

Week Convention: The week date standard adopted by the International Organization for Standardization (ISO) is part of the ISO 8601 date and time standard. The system specifies a week year atop the Gregorian calendar by defining a notation for ordinal weeks of the year. The advantage of using the ISO 8601 standard is that all weeks have exactly 7 days (i.e. there are no fractional weeks), every week belongs to a single year (i.e. there are no ambiguous or double-assigned weeks), when used by itself without using the concept of month, all week-numbering years are the same except that some years have a week 53 at the end. The disadvantage of the ISO week very often differing from the Gregorian year number for dates close to 1 January (where 29 December 2014 is ISO 2015-W01-1 i.e. it is in year 2015 instead of 2014), should not have a marked effect on the data comparisons reported here. Note that solar astronomic phenomena, such as equinoxes and solstices, vary in the Gregorian calendar differently than in the ISO Week Date calendar such that the solar events may fall in differing weeks in the ISO Week Date calendar. For example, March equinox falls on 1920-W12-6 and 2077-W11-5. Whereas this may affect comparisons year-to-year by week, it won’t affect the data reported in aggregations of longer time periods (e.g. by month). (Source: Wikipedia ISO Week Date.)

Month Convention: The ISO 8601 standard does not define any association of weeks to months. To facilitate comparison, here we have chosen a fixed length of 13 weeks per quarter, subdivided into months of 5+4+4 weeks within each quarter. Therefore, the following months are defined as 5-week whereas the remaining months are 4-week: January, April, July, October. For years in which a 53rd week is defined, the final quarter of the year will include 14 weeks and December 5-weeks.

Figure A.1. ISO 8601 Calendar for 2018.

# Appendix B: Version Control

Data sliced and diced data by “DFO 4.R” script
and imported into R Markdown to generate this report
DFOdata_2018_Qtr2_D20210428_T103159.RData

“alldata” file imported into “DFO 4.R”
ALLdataThru20180914_MinasPassage_WBATStationaryUplooking_6secFullWaterColumn_forDFOReport_AnalysisMerged_ALLCells_newALLdataONLY.RData

Portion of data used (i.e. “all” or subsetted to match 6-second time bin) data_YEAR_gte5lte6second
LEGEND
“all”: all data regardless of time bin duration
“6second”: >= 5.5 seconds (i.e. rounds to 6 seconds)
“gte5lte6second”: greater than or equal to 5 and less than or equal to 6

Last updated: June 06, 2021